## Annex2_Technical Specification
Annex 2: Technical Specifications
Procurement title: Battery Test Chamber
Requirements of Technical Specifications represent minimum requirements for the offered goods, and are not allowed to be changed by tenderer.
Tenderer shall complete only cells marked with gray color. Tenderer shall complete column "OFFERED FUNCTIONALITIES" defining in detail technical specifications of offered goods (note: tenderer fills the exact specifications of offered goods, while avoiding filling the columns only with words "compliant" and "equivalent", or "yes".
The column "NOTES" tenderer can fill up if deemed necessary.
For offer to be consider as compliant, offered goods must meet all the requirements presented in the Technical Specifications.
For all the items of offer where brand, patent, type or specific origin are asked for, tenderer can offer an equivalent to requested or referred, but in that case an offer must be accompanied by the proof of equivalence (catalog, manufacturer's certificate, etc.).
ITEM NO. | ITEM | TECHNICAL SPECIFICATIONS |  | OFFERED FUNCTIONALITIES | NOTES (if deemed necessary)
|  | FUNCTIONAL REQUIREMENTS | DESCRIPTION OF THE FUNCTIONAL REQUIREMENTS
1 | Battery test chamber, quantity: 1 piece
1.1. | Battery environment test chamber | Function | Chamber must be able to test different electrical devices, especially batteries, in different environmental conditions
|  | Environmental conditions | Chamber must be able to test these environmental conditions: (1) Temperature (2) Humidity
|  | Minimum temperature range | -30 – +150 °C
|  | Minimum humidity range | 20 – 98 % RH
|  | Minimal internal work volume (testing volume) | 0,4 m3 (400 L)
|  | Remote function | Remote control, monitoring and alarm (through PC and mobile device)
|  | Visualization | Basic data display
|  | Built-in protection | Chamber must have: (1) overcurrent, overvoltage, and short circuit protections (2) overloading (3) overpressure (4) overtemperature
|  | Testing cable hole diametar | 45-65 mm
|  | Overall converter weight | Maximum 800 kg.
|  | Overall converter volume | Maximum 3 m3
|  | Warranty period | Minimum 24 months
|  | Delivery time | Maximum 4 months after the signature of the contract
|  | Documentation included | Documentation should be included

## Annex 3_Financial Offer
Annex 3: Financial Offer
Procurement title: Battery Test Chamber
No. | ITEM | UNIT | QUANTITY | UNIT PRICE (net of VAT) | TOTAL PRICE (net of VAT)
1 | Battery Test Chamber | piece | 1 |  | 0
|  |  |  | TOTAL PRICE net of VAT | 0
VAT*
|  |  |  | TOTAL PRICE VAT included | 0
CURRENCY (HRK or EUR)
*If the Tenderer is registered outside of the Republic of Croatia, or is not subject to VAT, the place indended for inserting VAT amount remains empty. In the place that is intended for the insertion of the tender price with VAT included, the tenderers should insert the equivalent number as indicated in the place for the tender price withot VAT.

## Annex 1_Bid Sheet
Annex 1: Bid Sheet
Procurement title: Battery Test Chamber
Contracting Authority:
NAME OF THE CONTRACTING AUTHORITY | RASCO d.o.o.
ADDRESS (SEAT) OF THE CONTRACTING AUTHORITY | Kolodvorska 120/b, 48361 Kalinovac, Republika Hrvatska
VAT NO. OF THE CONTRACTING AUTHORITY | HR12710048305
Tenderer:
NAME OF THE TENDERER
ADDRESS (SEAT)
VAT NO.
BANK ACCOUNT NUMBER
TENDERER IS IN THE VAT SYSTEM (yes / no)
ADDRESS FOR MAIL DELIVER
CONTACT PERSON
Phone
Fax
E-mail
Offer
OFFER NUMBER
TENDER VALIDITY PERIOD | 60 days from the deadline for submission of tenders
TENDER PRICE net of VAT | 0
VAT (leave blank if the Tenderer is registered outside of the Republic of Croatia, or is not subject to VAT) | 0
TENDER PRICE, VAT included | 0
CURRENY HRK or EUR | 0
After having read and understood the tender documents and all the conditions, the Tenderer makes an offer for the procurement, whose technical specifications are described in Annex 2 of the Tender Documentation, all in accordance with the provisions of the Tender Documentation.
The Tenderer is legal entitiy and shall prove its legal and business capacity, by the request of the Contracting Authority.
Place and date:
Stamp: | Name, signature: